Rainbow Security Systems.                             Tel  01604  627227

Fax 01604  627337

## User Guide Pyronix Sterling 10 Alarm Panel.

### TO FULL SET THE ALARM	Enter Code only or Press Arm, Press A (system will set       arming all zones)

TO UNSET THE ALARM	Enter Code Only.

IF ALARM ACTIVATES	Enter Code To Silence Alarm.

TO LOCATE REASON OF ACTIVATION	Panel Will Display Area Of Alarm.

TO CLEAR REASON OF ACTIVATION	Enter Code Only.

TO NIGHT SET THE ALARM	Enter Code, Press Arm, Press B (zones omitted as

programmed by engineer)

Alternatively, Press Arm, Press B for silent setting.

TO UNSET NIGHT SET ON ALARM	Enter Code Only.

TO DAY SET FOR PETS	Enter Code, Press, Arm, Press C (zones omitted as

programmed by engineer).

TO UNSET DAY SET FOR PETS	Enter Code Only

TO CHANGE MASTER CODE	Press Function Key,

Press ( To Scroll To ‘Change Codes’,

Press Function Key to Accept.

Enter Existing Master Code

Press 1

Enter The New Code Twice As Per The Prompts.

POWER FAILURE	The System Will Run Off Of The Battery For Up To 24

Hours, The  LCD Will Display A Flashing ‘!’ And A

Fault Tone Can Be Heard Every 5 Seconds, To Acknowledge This Press The Function Key.

PANIC BUTTON SET OFF	The User Code Should Be Entered Twice To Reset The

System After The Alarm Has Gone Off. The Panic Button

Should Then Be Reset Manually With the Key Provided.